Drinking Water Quality and Compliance

Town Short Form – A Template for Annual Notice to Consumers

(Note:  This short form may be used for communities or waterworks serving a population of less than 5000).

Introduction

The Water Security Agency and the Ministry of Environment requires that at least once each year waterworks owners provide notification to consumers of the quality of water produced and supplied as well as information on the performance of the waterworks in submitting samples as required by a Minister’s Order or Permit to Operate a waterworks.  The following is a summary of the Town of Cabri’s water quality and sample submission compliance record for the January – December 2015 time period.  This report was completed on June 22, 2016.  Readers should refer to Water Security Agency’s Municipal Drinking Water Quality Monitoring Guidelines, June 2015, EPB 502 for more information on minimum sample submission requirements and the meaning of type of sample.  Permit requirements for a specific waterworks may require more sampling than outlined in the department’s monitoring guidelines.  If consumers need more information on the nature and significance of specific water tests, for example, “what is the significance of Selenium in a water supply”, more detailed information is available from:  http://www.hc-sc.gc.ca/ewh-semt/pubs/water-eau/index_e.html .

## Water Quality Standards

# Bacteriological Quality

Regular Samples	Regular Samples	  # of Positive Regular

Parameter/Location	Limit			Required		Submitted	  Submitted (%)

Total Coliform 		0 Organisms/100 mL	_____52_____	_____51____  _______0__________

E. coli			0 Organisms/100 mL	_____52_____	_____51_____  ______0___________

Background Bacteria	Less than 200/100 mL	_____52_____	_____51________  ___0____________

Water Disinfection –

Chlorine Residual in Distribution System for Test Results Submitted with Bacteriological Samples

Minimum	Total Chlorine	Free Chlorine	# Tests	# Tests	# Adequate

Parameter	Limit	Residual Range	Residual Range	Required	Submitted	Chlorine (%)

Chlorine	0.1 mg/L free OR

Residual	0.5 mg/L total	 __0.60-3.04____	___0.12-1.92___	___51_____ __51_____	_____98%_______

Water Disinfection - Free Chlorine Residual for Water Entering Distribution System from Waterworks Records-From Water Treatment Plant Records

Test Level	# Tests                # Tests Not Meeting

Parameter	Limit (mg/L)	Range	Performed          Requirements

Free Chlorine Residual	at least 0.70	_0.68-3.16_	___365___     _____2______

A minimum of 0.7 milligrams per litre (mg/L) free chlorine residual is required for water entering the distribution system.  Tests are normally performed on a daily basis by the waterworks operator and are to be recorded in operation records.  This data includes the number of free chlorine residual tests performed, the overall range of free chlorine residual (highest and lowest recorded values) and the number of tests and percentage of results not meeting the minimum requirement of 0.7 mg/L free chlorine residual.

Turbidity – From Water Treatment Plant Records

Parameter	Limit	Test Level	# Tests Not Meeting	Maximum	# Tests           # Tests		# Tests

(NTU) 	Range	Requirements	Turbidity (NTU)	Required        Performed	Performed

Turbidity	_0.30_	_0.027-0.199__          0	__0.199__	__365__	365			________       __________	____________

Chemical – Health Category

All waterworks serving less than 5000 persons are required to submit water samples for SE’s Chemical Health category once every 2 years.  The Chemical Health category includes analysis for arsenic, barium, boron, cadmium, chromium, fluoride, lead, nitrate, selenium and uranium.

The last sample for Chemical Health analysis was submitted on April 20, 2015.  Sample results indicated that the provincial drinking water quality standards were not exceeded.

Limit	Limit	Sample	# Samples

Parameter	MAC(mg/L)	IMAC (mg/L)	Result(s)	Exceeding Limit

Arsenic	0.010		__0.0005_	______0________   * Results expressed

Barium	1.0		__0.0278	______0________ 	  as average values

Boron		5.0	___0.1___	______0________      for communities or

Bromate	0.01		_________	______0__________      waterworks that

Cadmium	0.005		_<0.00056_	______0__________      fluoridate drinking

Chlorate	1.0		_________	______0__________      water supplies or

Chlorite	1.0		_________	______0__________      those with elevated

Chromium	0.05		_0.0014___	______0__________      concentrations of

Fluoride (avg*)	1.5		<0.05_____	______0__________      fluoride or nitrates.

Lead	0.01		_0.0001___	______0__________

Nitrate (avg.*)	45.0		__<0.2____	______0__________

Selenium	0.01		_<0.00096_	______0__________

Uranium	0.02		__0.003___	______0__________

Chemical – Trihalomethanes (THMs)and Haloacetic Acids (HAAs)

Parameter	THMs		Sample	# Samples	#  Samples

Limit (mg/L)		Result (average) 	Required	Submitted

Trihalomethanes	0.1	_0.070_______      4 (1 every 3 months)	____4______

Haloacetic Acids	    0.08		    _0.084_______     4 (1 every 3 months)	       ____4______

Note:  Only water supplies derived from surface water or groundwater under the influence of surface water are required to monitor for THMs and HAAs.  Waterworks using groundwater sources beyond the influence of surface water do not need to report THMs or HAAs since sampling/analysis will not likely have been performed unless otherwise noted in the waterworks permit to operate

# General Chemical

Aesthetic 		Sample Results	# Samples  # Samples

### Parameter	Objectives * (mg/L)	(average)	Required     Submitted

Alkalinity	500	_105mg/L_____	__4_____ 	___4______

Bicarbonate	No Objective	_128mg/L_____	__4_____	___4______

Calcium	No Objective	_154mg/L_____	__4_____	___4______

Carbonate	No Objective	_0mg/L_______	__4_____	___4______

Chloride	250	_36.3mg/L____ 	__4_____	___4______

Conductivity	No Objective	_1800mg/cm__	__4_____	___4______

Hardness	800	_693mg/L_____	__4_____	___4______

Magnesium	200	_75mg/L______	__4_____ 	___4______

PH	No Objective	_7.1_________	__4_____	___4______

Sodium	300	_168mg/L____	__4_____	 ___4_____

Sulphate	500	_870.5mg/L___ 	__4_____ 	___4_____

Total dissolved

Solids                   1500	                         _1443mg/L____   __4_____      ___4______

All waterworks serving less than 5000 persons are required to submit water samples for SE’s General Chemical category once every two years if a ground water source and once per three months every second year if a surface water or blended surface/groundwater source.  The General Chemical category includes analysis for alkalinity, bicarbonate, calcium, carbonate, chloride, conductivity, hardness (as CaCO3), magnesium, sodium, sulphate and total dissolved solids.

The last sets of quarterly samples for General Chemical analysis were required on 2014 and were submitted on March 3, 2014, April 23, 2014, July 14, 2014, and October 14, 2014.  Sample results indicated that there were no exceedences of the provincial aesthetic objectives for the General Chemical category.

*Objectives apply to certain characteristics of or substances found in water for human consumptive or hygienic use.  The presence of these substances will affect the acceptance of water by consumers and/or interfere with the practice of supplying good quality water.  Compliance with drinking water aesthetic objectives is not mandatory as these objectives are in the range where they do not constitute a health hazards.  The aesthetic objectives for several parameters (including hardness as CaCO3, magnesium, sodium and total dissolved solids) consider regional differences in drinking water sources and quality.

More information on water quality and sample submission performance may be obtained from:

TOWN OF CABRI

BOX 200

CABRI, SK S0N 0J0

306-587-2500

townofcabri@sasktel.net

June 2015         EPB 536D